## Sheet1
main_category | main_code | sub_category | sub_code | purchase_type | brand | name | model_no | unit_type | reorder_level | rate | serial | warranty
Access Control | AC | Exit Switch | ES | 2 |  | Exit Switch |  | 2 | 10 | 185 | 0 | 0
Access Control | AC | EM Lock | EML | 2 |  | EM Lock 280 |  | 2 | 5 | 3400 | 1 | 1
Access Control | AC | Drop Bolt Lock | DBL | 2 |  | Drop Bolt Lock 280 |  | 2 | 5 | 2200 | 1 | 1
Access Control | AC | Emergency Door Release | EDR | 2 |  | Breakable Glass |  | 2 | 5 | 494 | 0 | 0
CCTV | CCTV | UPS | UPS | 2 |  | UPS 650 VA Line Interactive |  | 2 | 3 | 3500 | 1 | 1
CCTV | CCTV | UPS | UPS | 2 |  | UPS 1.2 KVA Line Interactive |  | 2 | 3 | 7800 | 1 | 1
CCTV | CCTV | UPS | UPS | 2 |  | UPS 1 KVA online |  | 2 | 3 | 25000 | 1 | 1
CCTV | CCTV | UPS | UPS | 2 |  | UPS 2 KVA online |  | 2 | 3 | 47000 | 1 | 1
CCTV | CCTV | UPS | UPS | 2 |  | UPS 3 KVA online |  | 2 | 1 | 54500 | 1 | 1
CCTV | CCTV | Racks | RCK | 2 |  | 3U Wall Mount Network Rack |  | 2 | 5 | 3900 | 0 | 0
CCTV | CCTV | Racks | RCK | 2 |  | 5U Wall Mount Network Rack |  | 2 | 2 | 6550 | 0 | 0
CCTV | CCTV | Racks | RCK | 2 |  | 7U Wall Mount Network Rack |  | 2 | 2 | 10465 | 0 | 0
CCTV | CCTV | Racks | RCK | 2 |  | 10U Wall Mount Network Rack |  | 2 | 0 | 9931.82 | 0 | 0
CCTV | CCTV | Network Switch | NS | 2 |  | Network Switch PoE 8 port 10/100 mbps |  | 2 | 5 | 19950 | 1 | 1
CCTV | CCTV | Network Switch | NS | 2 |  | Network Switch PoE 8 port 10/100/1000 mbps |  | 2 | 2 | 18500 | 1 | 1
CCTV | CCTV | Network Switch | NS | 2 |  | Network Switch PoE 16 port 10/100 mbps |  | 2 | 5 | 45000 | 1 | 1
CCTV | CCTV | Network Switch | NS | 2 |  | Network Switch PoE 16 port 10/100/1000 mbps |  | 2 | 2 | 66128.4 | 1 | 1
CCTV | CCTV | Network Switch | NS | 2 |  | Network Switch PoE 24 port 10/100 mbps |  | 2 | 3 | 58000 | 1 | 1
CCTV | CCTV | Network Switch | NS | 2 |  | Network Switch PoE 24 port 10/100/1000 mbps |  | 2 | 3 | 79975.8 | 1 | 1
CCTV | CCTV | Network Switch | NS | 2 |  | Network Switch non PoE 8 port |  | 2 | 3 | 12000 | 1 | 1
CCTV | CCTV | Network Switch | NS | 2 |  | Network Switch non PoE 16 port |  | 2 | 3 | 42000 | 1 | 1
CCTV | CCTV | Patch Panel | PP | 2 |  | Patch Panel cat 6 24 port |  | 2 | 4 | 9960 | 1 | 1
CCTV | CCTV | Video Transition Cable | VTC | 2 |  | HDMI Cable 1.5 m |  | 2 | 5 | 400 | 0 | 0
CCTV | CCTV | Video Transition Cable | VTC | 2 |  | HDMI Cable 3 m |  | 2 | 5 | 550 | 0 | 0
CCTV | CCTV | Video Transition Cable | VTC | 2 |  | HDMI Cable 5 m |  | 2 | 5 | 600 | 0 | 0
CCTV | CCTV | Video Transition Cable | VTC | 2 |  | HDMI Cable 10 m |  | 2 | 5 | 925 | 0 | 0
CCTV | CCTV | Video Transition Cable | VTC | 2 |  | HDMI Cable 20 m |  | 2 | 3 | 5500 | 0 | 0
CCTV | CCTV | Video Transition Cable | VTC | 2 |  | VGA Cable 1.5 m |  | 2 | 3 | 200 | 0 | 0
CCTV | CCTV | Video Transition Cable | VTC | 2 |  | VGA Cable 3 m |  | 2 | 3 | 291.67 | 0 | 0
CCTV | CCTV | Video Transition Cable | VTC | 2 |  | VGA Cable 5 m |  | 2 | 3 | 475 | 0 | 0
CCTV | CCTV | Video Transition Cable | VTC | 2 |  | VGA Cable 10 m |  | 2 | 3 | 775 | 0 | 0
CCTV | CCTV | Video Converter | VC | 2 |  | 1080p HDMI to VGA |  | 2 | 2 | 1750 | 0 | 1
CCTV | CCTV | Video Converter | VC | 2 |  | VGA to HDMI Converter |  | 2 | 2 | 12500 |  | 1
CCTV | CCTV | Video Converter | VC | 2 |  | TV AV S/ video RCA to VGA Converter |  | 2 | 2 | 2300 | 1 | 1
CCTV | CCTV | Video Converter | VC | 2 |  | Combo Unit |  | 2 | 2 | 2750 | 1 | 1
Installation | INS | Plug Top | PT | 2 | Orange/ Polychrome | 5 A Plug Top |  | 2 | 10 | 97 | 0 | 0
Installation | INS | Plug Top | PT | 2 | Orange/ Polychrome | 13 A Plug Top |  | 2 | 10 | 178 | 0 | 0
Installation | INS | Plug Bass | PB | 2 | Orange/ Kevilton | 5 A Plug Bass |  | 2 | 10 | 345 | 1 | 0
Installation | INS | Plug Bass | PB | 2 | Orange/ Kevilton | 13 A Plug Bass |  | 2 | 10 | 300 | 1 | 0
Installation | INS | Sunk Box | SB | 2 |  | Sunk Box Single |  | 2 | 10 | 38 | 0 | 0
Installation | INS | Sunk Box | SB | 2 |  | Sunk Box Double |  | 2 | 10 | 75 | 0 | 0
Installation | INS | Sunk Box | SB | 2 |  | Sunk Box Triple |  | 2 | 5 | 175 | 0 | 0
Installation | INS | Sunk Box | SB | 2 |  | Sunk Box Quadruple |  | 2 | 5 | 140 | 0 | 0
Installation | INS | Blank Plate | BP | 2 | Orange/ Local | Blank Plate |  |  |  | 115
Installation | INS | Lugs | LG | 2 |  | Cable End Lug 0.5 mm |  | 2 | 20 | 4 | 0 | 0
Installation | INS | Lugs | LG | 2 |  | Cable End Lug 1 mm |  | 2 | 20 | 4 | 0 | 0
Installation | INS | Lugs | LG | 2 |  | Cable End Lug 1.5 mm |  | 2 | 20 | 4.5 | 0 | 0
Installation | INS | Lugs | LG | 2 |  | Cable End Lug 2 mm |  | 2 | 20 | 4.5 | 0 | 0
Installation | INS | Lugs | LG | 2 |  | Ring Lug 1 mm |  | 2 | 20 | 4.5 | 0 | 0
Installation | INS | Lugs | LG | 2 |  | Ring Lug 1.5 mm |  | 2 | 20 | 5.5 | 0 | 0
Installation | INS | Lugs | LG | 2 |  | Ring Lug 2 mm |  | 2 | 20 | 6.5 | 0 | 0
Installation | INS | Lugs | LG | 2 |  | Ring Lug 2.5 mm |  | 2 | 20 | 5 | 0 | 0
Installation | INS | Timer | TM | 2 |  | Electronic Timer Switch |  | 2 | 0 | 1200 | 1 | 1
Installation | INS | Light | LT | 2 |  | LED Flash 20 W |  | 2 | 0 | 3120 | 1 | 1
Installation | INS | Sleevings | SL | 2 |  | Heat Sleeve 1 mm |  | 1 | 3 | 30 | 0 | 0
Installation | INS | Sleevings | SL | 2 |  | Heat Sleeve 1.5 mm |  | 1 | 3 | 35 | 0 | 0
Installation | INS | Sleevings | SL | 2 |  | Heat Sleeve 2 mm |  | 1 | 3 | 40 | 0 | 0
Installation | INS | Sleevings | SL | 2 |  | Heat Sleeve 3 mm |  | 1 | 3 | 40 | 0 | 0
Installation | INS | Sleevings | SL | 2 |  | Heat Sleeve 5 mm |  | 1 | 3 | 45 | 0 | 0
Installation | INS | Sleevings | SL | 2 |  | Heat Sleeve 8 mm |  | 1 | 3 | 70 | 0 | 0
Installation | INS | Connceters | CNN | 2 |  | RJ 45 |  | 2 | 50 | 8 | 0 | 0
Installation | INS | Connceters | CNN | 2 |  | RJ 11 |  | 2 | 50 | 3 | 0 | 0
Installation | INS | Connceters | CNN | 2 |  | Rosette Box |  | 2 | 4 | 30 | 0 | 0
Installation | INS | Connceters | CNN | 2 |  | Key Stone RJ 45 |  | 2 | 10 | 275 | 0 | 0
Installation | INS | Connceters | CNN | 2 |  | Key Stone RJ 11 |  | 2 | 10 | 275 | 0 | 0
Installation | INS | Connceters | CNN | 2 |  | Plas Plate Single |  | 2 | 10 | 175 | 0 | 0
Installation | INS | Connceters | CNN | 2 |  | Plas Plate Double |  | 2 | 10 | 220 | 0 | 0
Installation | INS | Connceters | CNN | 2 |  | Gel Connecter |  | 2 | 50 | 20 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 25mm x 20mm Casing (25 x 16MM KTK ) |  | 2 | 50 | 160 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 32mm x 20mm Casing |  | 2 | 50 | 50 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 32mm x 25mm Casing |  | 2 | 50 | 60 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 40mm x 20mm Casing |  | 2 | 50 | 80 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 40mm x 25mm Casing (40 x 16 MM KTK ) |  | 2 | 50 | 295 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 40mm x 32mm Casing |  | 2 | 50 | 100 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 50mm x 20mm Casing |  | 2 | 50 | 110 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 50mm x 25mm Casing |  | 2 | 50 | 420 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 50mm x 32mm Casing |  | 2 | 50 | 130 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 50mm x 40mm Casing |  | 2 | 50 | 140 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 63mm x 20mm Casing |  | 2 | 50 | 210 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 63mm x 25mm Casing |  | 2 | 50 | 220 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 63mm x 32mm Casing |  | 2 | 50 | 220 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 63mm x 40mm Casing |  | 2 | 50 | 230 | 0 | 0
Installation | INS | Casing | CS | 2 |  | 63mm x 50mm Casing (75 X 50 KTK) |  | 2 | 50 | 880 | 0 | 0
Installation | INS | Conduit | CND | 2 |  | Conduit Pipe 20 mm |  | 2 | 100 | 65 | 0 | 0
Installation | INS | Conduit | CND | 2 |  | Conduit Pipe 25 mm |  | 2 | 100 | 85 | 0 | 0
Installation | INS | Conduit | CND | 2 |  | Conduit Pipe 32 mm |  | 2 | 100 | 78.57 | 0 | 0
Installation | INS | Conduit | CND | 2 |  | Conduit Pipe 40 mm |  | 2 | 100 | 294.48 | 0 | 0
Installation | INS | Flexible Conduit | FC | 2 |  | Flexible Conduit 20 mm |  | 1 | 10 | 35 | 0 | 0
Installation | INS | Flexible Conduit | FC | 2 |  | Flexible Conduit 25 mm |  | 1 | 10 | 35 | 0 | 0
Installation | INS | Flexible Conduit | FC | 2 |  | Flexible Conduit 32 mm |  | 1 | 10 | 56 | 0 | 0
Installation | INS | Socket | SKT | 2 |  | Socket 20 mm |  | 2 | 100 | 5.09 |  | 0
Installation | INS | Socket | SKT | 2 |  | Socket 25 mm |  | 2 | 100 | 5 | 0 | 0
Installation | INS | Socket | SKT | 2 |  | Socket 32 mm |  | 2 | 100 | 5.93 | 0 | 0
Installation | INS | Socket | SKT | 2 |  | Socket 40 mm |  | 2 | 100 | 45 | 0 | 0
Installation | INS | T Sockets | TSKT | 2 |  | T Socket 20 mm |  | 2 | 100 | 10 | 0 | 0
Installation | INS | T Sockets | TSKT | 2 |  | T Socket 25 mm |  | 2 | 100 | 10 | 0 | 0
Installation | INS | T Sockets | TSKT | 2 |  | T Socket 32 mm |  | 2 | 100 | 25 | 0 | 0
Installation | INS | Bends | BND | 2 |  | Bend 20 mm |  | 2 | 100 | 6.5 | 0 | 0
Installation | INS | Bends | BND | 2 |  | Bend 25 mm |  | 2 | 100 | 7.35 | 0 | 0
Installation | INS | Bends | BND | 2 |  | Bend 32 mm |  | 2 | 100 | 8.48 | 0 | 0
Installation | INS | Bends | BND | 2 |  | Bend 40 mm |  | 2 | 100 | 30 | 0 | 0
Installation | INS | Junction Box | JB | 2 |  | 2 Way Junction Box 20 mm |  | 2 | 100 | 7 | 0 | 0
Installation | INS | Junction Box | JB | 2 |  | 2 Way Junction Box 25 mm |  | 2 | 100 | 7 | 0 | 0
Installation | INS | Junction Box | JB | 2 |  | 2 Way Junction Box 32 mm |  | 2 | 100 | 7 | 0 | 0
Installation | INS | Junction Box | JB | 2 |  | 3 Way Junction Box 20 mm |  | 2 | 100 | 7 | 0 | 0
Installation | INS | Junction Box | JB | 2 |  | 3 Way Junction Box 25 mm |  | 2 | 100 | 7 | 0 | 0
Installation | INS | Junction Box | JB | 2 |  | 3 Way Junction Box 32 mm |  | 2 | 100 | 7 | 0 | 0
Installation | INS | Junction Box | JB | 2 |  | 4 Way Junction Box 20 mm |  | 2 | 100 | 7 | 0 | 0
Installation | INS | Junction Box | JB | 2 |  | 4 Way Junction Box 25 mm |  | 2 | 100 | 7 | 0 | 0
Installation | INS | Junction Box | JB | 2 |  | 4 Way Junction Box 32 mm |  | 2 | 100 | 7 | 0 | 0
Installation | INS | Power Cable | PC | 2 |  | Cable 1/1.13mm 1/044 |  | 1 | 500 | 2220 | 0 | 1
Installation | INS | Power Cable | PC | 2 |  | Cable 1/1.38mm 1/054 |  | 1 | 500 | 4700 | 0 | 1
Installation | INS | Power Cable | PC | 2 |  | Cable 7/0.53mm 3/.036 |  | 1 | 200 | 5100 | 0 | 1
Installation | INS | Power Cable | PC | 2 |  | Cable 7/1.04mm 7/.044 |  | 1 | 200 | 17100 | 0 | 1
Installation | INS | Power Cable | PC | 2 |  | Cable 7/1.35mm 7/.052 |  | 1 | 200 | 28200 | 0 | 1
Installation | INS | Telephone Cable | TC | 2 |  | Cable 0.50mm Single Pair |  | 1 | 200 | 3000 | 0 | 1
Installation | INS | Telephone Cable | TC | 2 |  | Cable 0.50mm Two Pair |  | 1 | 200 | 5150 | 0 | 1
Installation | INS | Rosette Cable | RC | 2 |  | Cable 4 x 0.075mm |  | 1 | 100 | 1350 | 0 | 1
Installation | INS | Networ Cable | NC | 2 |  | CAT 5e (AWG 24) |  | 1 | 305 | 11957 | 0 | 1
Installation | INS | Networ Cable | NC | 2 |  | CAT 6e (AWG 24) |  | 1 | 305 | 16500 | 0 | 1
Installation | INS | Networ Cable | NC | 2 |  | CAT 5e (AWG 24) |  | 1 | 305 | 18960 | 0 | 1
Installation | INS | Networ Cable | NC | 2 |  | CAT 6e (AWG 24) |  | 1 | 305 | 16000 | 0 | 1
Installation | INS | Earth Wire | EW | 2 |  | Cable 7/1.04mm 7/.044 |  | 1 | 200 | 16150 | 0 | 1
Installation | INS | Coaxial Cable | CC | 2 |  | 5C2V Cable |  | 1 | 200 | 72 | 0 | 1
Installation | INS | Coaxial Cable | CC | 2 |  | 3C2V Cable |  | 1 | 200 | 62 | 0 | 1
Installation | INS | Insulation Tape | INT | 2 |  | Black,Red,Blue,Green,Yellow |  | 2 | 20 | 50 | 0 | 0
Installation | INS | Masking Tapes | MT | 2 |  | 1x 14 Yards |  | 2 | 5 | 65 | 0 | 0
Installation | INS | Copper Rod | CR | 2 |  | 12 x 1200mm |  | 2 | 2 | 800 | 0 | 0
Installation | INS | Cable Ties | CT | 2 |  | 3" 75mm x 2.4mm Cable Tie |  | 2 | 100 | 100 | 0 | 0
Installation | INS | Cable Ties | CT | 2 |  | 4" Cable Tie |  | 2 | 100 | 175 | 0 | 0
Installation | INS | Cable Ties | CT | 2 |  | 6" Cable Tie |  | 2 | 100 | 1 | 0 | 0
Installation | INS | Cable Ties | CT | 2 |  | 8" Cable Tie |  | 2 | 100 | 2.5 | 0 | 0
Installation | INS | Cable Ties | CT | 2 |  | 10" Cable Tie |  | 2 | 100 | 3.5 | 0 | 0
Installation | INS | Cable Ties | CT | 2 |  | 12" Cable Tie |  | 2 | 100 | 4.5 | 0 | 0
Installation | INS | Screws | SC | 2 |  | Black Screw 1 1/2" |  | 2 | 200 | 1.6 | 0 | 0
Installation | INS | Screws | SC | 2 |  | Black Screw 3" |  | 2 | 50 | 4 | 0 | 0
Installation | INS | Wall Plug | WP | 2 |  | Wall Plug 6" |  | 2 | 200 | 0.7 | 0 | 0
Installation | INS | Wall Plug | WP | 2 |  | Wall Plug 7" |  | 2 | 100 | 0.75 | 0 | 0
Installation | INS | Wall Plug | WP | 2 |  | Wall Plug 8" |  | 2 | 100 | 2.5 | 0 | 0
Installation | INS | Wall Plug | WP | 2 |  | Wall Plug 10" |  | 2 | 100 | 4 | 0 | 0
Installation | INS | Anchor Bolt | AB | 2 |  | Anchor Bolt 8 mm |  | 2 | 10 | 35 | 0 | 0
Installation | INS | Anchor Bolt | AB | 2 |  | Anchor Bolt 12 mm |  | 2 | 10 | 45 | 0 | 0
Installation | INS | Thread Bar | TB | 2 |  | Thread Bar 10 mm |  | 2 | 2 | 280 | 0 | 0
Installation | INS | GI Pipe | GIP | 2 |  | GI Pipe 3/4" |  | 2 | 0 | 1300 | 0 | 0
Installation | INS | Outdoor Weather Proof Box | OWPB | 2 |  | 4 x 4 Outdoor Weather Proof Box |  | 2 | 10 | 375 | 0 | 0
Installation | INS | Outdoor Weather Proof Box | OWPB | 2 |  | 4 x 6 Outdoor Weather Proof Box |  | 2 | 10 | 575 | 0 | 0
Installation | INS | Outdoor Weather Proof Box | OWPB | 2 |  | 6 x 8 Outdoor Weather Proof Box |  | 2 | 2 | 850 | 0 | 0